## ANSI-IES TM-32-24 Annex B
|  | NEMA |  | Autodesk |  |  | IES TM-32 |  |  |  |  | CEN/TS 17623 |  | GLDF
Required | TM32-19 Grouping | NEMA GUID | Equivalent NEMA Name | Data Type | Built into Revit? | Revit Name (English) | Name | Group | Description | Tool Tip | GUID | Global ID (GLDF GUID) | EN Name EN ¦ EN ID | Name EN GLDF | Remark
x | General |  |  | Text |  |  | Last Updated | General | Date BIM was last updated | Last file update time and date | 8350e45f-5dbb-4391-a637-620154f021c7 | 1G6UMbjabF6Orb_N36O2Sf | timecode of manufacture data creation ¦ EN ID: 07-0048 | CreationTimeTode | GLDF identifies not via GUID but via Name EN
x | General |  |  | Text |  |  | Manufacturer | General | Manufacturer of product | Manufacturer of product | 9597d401-cfd4-4394-af6f-d84565b83b38 | 3gmbhSjFD4JOPQZ7_I$HzY | manufacturer ¦ EN ID: 07-0002 | Manufacturer
x | General | bddc75f4-8e27-4afc-add0-de7358bbf6d3 | Product Documentation Link | URL |  |  | Manufacturer URL | General | URL of manufacturer website | Web URL of manufacturer website | bddc75f4-8e27-4afc-add0-de7358bbf6d3 | 322VYxGfH6DOZHOmPOqDqO | URL manufacturer ¦ EN ID: 07-0003 | Websites | More than one is possible
x | General |  |  | Text |  |  | Product Name | General | Luminaire Name or Brand name of product | Luminaire name or brand name of product | 15f5ff4d-f917-45e4-ae77-5521e67f0a27 | 3pijcXRsT9mAFfcOBnThIw | product name ¦ EN ID: 07-0001 | ProductName
x | Photometric | 0e3d3a2c-30bc-417c-af34-b0c1bbba7ffc | Color Temperature (CCT) | Color Temperature | y |  | Correlated Color Temperature | Photometric | CCT. Correlated color temperature of the light source, in kelvins (e.g., 4500 K) | The color appearance of the light produced by the light source, expressed on the Kelvin scale (K). | Revit Built-in | 0XeHsouWz8PxASJ4mpkdEY | correlated colour temperature CCT ¦ EN ID: 04-0024 | CorrelatedColorTemperature
x | Photometric | acfa19a5-870c-4f39-8131-df68636c1cdc | Color Rendering Index (CRI) | Integer |  |  | Color Rendering Index (CRI) | Photometric | The ability of a source to render color correctly. | The ability of a source to render color correctly. | acfa19a5-870c-4f39-8131-df68636c1cdc
x | Photometric |  |  | .ies File | y |  | Photometric Web File | Photometric | Photometric test data for individual product. | Photometric data file | Revit Built-in | 1lEpo0LO16FPpSj0jFwIOu | light distribution curve LDC ¦ EN ID: 04-0001 | File.LDC | Name of the photometric file or URL to the photometric file
x | Electrical | a1c4f25a-1260-41a5-bac8-97556a57b236 | Apparent Load | Apparent Power | y |  | Apparent Load | Electrical | The electrical current multiplied by the voltage in AC systems. Measured in VA (volt-amperes). | Measured in volt-amperes (VA). | Revit Built-in | 2FA0ih18LF_uKt46e5ErIv | apparent load ¦ EN ID: 02-0001 |  | Not in GLDF
x | Electrical | 3cd5049e-0b1e-4cd7-963c-6a59f1b87ee4 | Lamp Type | Text |  |  | Light Source | Electrical | A device that emits optical radiation within the wavelength range of 380 nm to 780 nm (that is, visible light). | Also known as "lamp" | 3cd5049e-0b1e-4cd7-963c-6a59f1b87ee4 | 0G4TAennPD5gzRoG2rlZv_ | ILCOS light source type ¦ EN ID: 02-0008 | ILCOS | ILCOS
x | Electrical | c9846d7e-34ca-4f59-94ab-3452803f997e | Watts | Apparent Power | o |  | Rated Input Power | Electrical | Power consumed by the light source(s), control gear, and control circuit in or associated with a luminaire including any standby power when the luminaire is turned on. | Measured in volt-amperes (VA). | c9846d7e-34ca-4f59-94ab-3452803f997e | 17a067965CqhDelQ$Y3mcP | RatedInputPower ¦ EN ID: 02-0002 | RatedInputPower
x | Electrical | 7bcae613-49d5-40a3-a27e-8df1945ce73e | Voltage Nominal | Electrical Potential |  |  | Voltage Nominal | Electrical | Voltage at which the product operates normally as specified by the supplier or manufacturer. | Nominal Voltage is not the precise operating or rated voltage. | 7bcae613-49d5-40a3-a27e-8df1945ce73e | 3ERn8VgnjDjhulH3MaG9yG | nominal voltage ¦ EN ID: 02-0028 | NominalVoltage
| Electrical | 652939b9-9afa-4e8c-9ab1-767525e78a49 | Phase | Number of Poles | y |  | Electrical Phase | Electrical | Example: Single Phase/Three Phase; | Single Phase, or Three Phase power required? | Revit Built-in | 100MSXxt96iBH86YJ6lECo | number of phases ¦ EN ID 02-0047 |  | Not in GLDF
| Mechanical |  |  | Text | o |  | Luminaire Housing Shape, 3D | Mechanical | Defined in photometric web file (cuboid, cylinder) | Three-dimensional simplified shape of luminaire or sensing device. | 5f141709-2625-47af-8618-00e1c5e9eac1 | 1zs4Cj96j3d8TWAeeixJga | luminaire housing shape 3D ¦ EN ID: 01-0010 | SimpleGeometry | Simple Geometry (Cuboid, Cylinder) - not complex 3D model
| General |  |  | Text | o |  | Housing Color | General | Color of luminaire housing | The name of color of the housing or RAL number. | 2f317fc3-3f64-4214-83fd-390823fc9d91 | 13i4dlOM1FvhfPVt5JElgA | housing colour ¦ EN ID: 07-0042 | HousingColor
| General |  |  | Material | o |  | Housing Material | General | Main material of luminaire housing | Material of luminaire housing | 9704f476-596b-43e9-919a-42f7881c8921 | 18_K3PHM50sAUN6OEG2oCA | housing material ¦ EN ID: 07-0043 |  | Not in GLDF
x | Photometric |  |  | Number | y |  | Light Loss Factor | Photometric | Multiplier used to predict the future performance (maintained luminous flux) relative to the initial properties of an installed lighting system. | Multiplier used to predict the future performance (maintained luminous flux) relative to the initial properties of an installed lighting system. | Revit Built-in | 0$H_zVMtjA3vm1ce$LVc1D | overall MF ¦ EN ID:
| Photometric |  |  |  | y |  | Calculate Coefficient of Utilization | Photometric | A value used to indicate that the Coefficient of Utilization will be calculated for the lighting fixture by default. In a project, you can change this default behavior by changing instance properties. | Enable or disable Coefficient of Utilization calculations. | Revit Built-in
| Photometric |  |  |  | y |  | Coefficient of Utilization | Photometric | A value used to define the efficiency of a lighting fixture in transferring luminous energy to the work plane in a particular area. This value shows the percentage of lumens that reach the work plane after light is lost due to the fixture’s efficiency at transmitting light, the room proportions, and the ability of room surfaces to reflect light. If you select Calculate Coefficient of Utilization (default), this parameter is read-only. If you clear Calculate Coefficient of Utilization (default), you can enter a value between 0 and 1, or enter a formula. In a family, this parameter defines the default value for the lighting fixture. In a project, you can change the default in instance properties. | The percentage of emitted lumens delivered to the task area for a given environment. | Revit Built-in
x | Electrical |  |  | Yes/No |  |  | Dimmable | Electrical | Determines whether the luminaire is dimmable. | Determines whether the luminaire is dimmable. | 4d4881f3-5a77-41eb-a140-e03a297c2351 | 1rdcbmVG19UgBf_YVdUo9f | dimmable ¦ EN ID: 02-0036 | Dimmable
| Electrical |  |  |  | y |  | Load Classification | Electrical | Indicates whether the load is connected to the Lighting or Power panel. | Indicates whether the load is connected to the Lighting or Power panel. | Revit Built-in
| General | 038052b7-7d2c-45e2-981f-7dc0b042c255 | Product Depth | Length |  |  | Depth | General | Required minimum installation depth, height of the invisible / hidden mounting part of the luminaire (for recessed or flush mount). | Required minimum installation depth, height of the invisible / hidden mounting part of the luminaire (for recessed or flush mount). | 038052b7-7d2c-45e2-981f-7dc0b042c255 | 1RIsLltoX1whNaYkaCoHXJ | recessed required depth ¦ EN ID: 01-0007 | RecessedDepth
x | General | c59a50f1-6e72-4981-ad58-2a65b8fbc846 | Product Diameter | Length |  |  | Diameter | General | Overall Diameter of the housing of the luminaire or sensing device. | Overall Diameter of the housing of the luminaire or sensing device. | c59a50f1-6e72-4981-ad58-2a65b8fbc846 | 2GZ1YB8enFVhDHOKgLc$BU | overall diameter ¦ EN ID: 01-0001 | SimpleGeometry.Cuboid.Diameter, SimpleGeometry.Cylinder.Diameter | Diameter of the simple geometry
x | General |  |  | Length |  |  | Diameter of the Luminous Area | General | Diameter of the light circular shape aperture on the luminaire. Also indicated in the photometric file IES and LDT | Diameter of the light circular shape aperture on the luminaire. Also indicated in the photometric file IES and LDT | 59b50a71-0256-43f0-8982-c320c4ce2cda | 1mHV_4yHLEFuxOaIDlNmNn | diameter of the luminous area ¦ EN ID: 01-0020 | CircularEmitter.Diameter | Diameter of the simple round geometry
x | General | 8822b540-105f-47d1-847d-e3df372faa1e | Product Height | Length |  |  | Height | General | Height of the housing of the luminaire or sensing device. Corresponds to z-axis. This definition is regardless of orientation of luminaires. | Height of the housing of the luminaire or sensing device. Corresponds to z-axis. This definition is regardless of orientation of luminaires. | 8822b540-105f-47d1-847d-e3df372faa1e | 19Z9XKYDT4p8HR0ZbD$wO_ | height ¦ EN ID: 01-0002 | SimpleGeometry.Cuboid.Height, SimpleGeometry.Cylinder.Height OR ProductSize.Height | Height of the simple geometry OR descriptive using ProductSize
x | General |  |  | Length |  |  | Height of Luminous Area | General | The height of the luminous box of the luminaire. Also indicated in the photometric file. | The height of the luminous box of the luminaire. Also indicated in the photometric file. | 606a8c3b-8096-4d55-81e1-3ac6201886bf | 0WXZRI6CD2KfL4xC1uuLBF | height of the luminous area ¦ EN ID: 01-0021 | C-Heights
x | General | 51782a3a-e0cb-45b4-86b1-2788dd5d6148 | Product Length | Length |  |  | Length | General | Length of the housing of the luminaire or sensing device. Corresponds to y-axis. This definition is regardless of orientation of luminaires. | Length of the housing of the luminaire or sensing device. Corresponds to y-axis. This definition is regardless of orientation of luminaires. | 51782a3a-e0cb-45b4-86b1-2788dd5d6148
x | General |  |  | Length |  |  | Length of Luminous Area | General | The length of the luminous box of the luminaire. Also indicated in the photometric file. | The length of the luminous box of the luminaire. Also indicated in the photometric file. | 1807c60b-35e5-4e55-897e-49570dee6b53
| General | d5e464aa-5c32-4e45-91b5-8db19b6f6ebe | Radius | Length |  |  | Radius | General | The radius of a circular luminaire. | The radius of a circular luminaire. | d5e464aa-5c32-4e45-91b5-8db19b6f6ebe
x | General | b3d433e9-f085-469f-810a-ead142e20f7e | Product Width | Length |  |  | Width | General | Width of the housing of the luminaire or sensing device. Width is set parallel to the C0- C180 plane. Corresponds to the x-axis and with 0° horizontal of the Light Distribution Curve. This definition is regardless of orientation of luminaires. | Width of the housing of the luminaire or sensing device. Width is set parallel to the C0- C180 plane. Corresponds to the x-axis and with 0° horizontal of the Light Distribution Curve. This definition is regardless of orientation of luminaires. | b3d433e9-f085-469f-810a-ead142e20f7e | 1dPvrZN3vEIB0n0vwYvDcX | width ¦ EN ID: 01-0004 | SimpleGeometry.Cuboid.Width OR ProductSize.Width | Width of the simple geometry OR descriptive using ProductSize
x | General |  |  | Length |  |  | Width of Luminous Area | General | Width is parallel to the C0- C180 plane. Aligned with the X axis and with 0° horizontal | Width is parallel to the C0- C180 plane. Aligned with the X axis and with 0° horizontal | fecae275-f3d6-4f86-86df-7f957102c786 | 2SqBhDZKD1hBjGWsV4q_GQ | width of the luminous area ¦ EN ID: 01-0023 | RectangularEmitter.Width | Diameter of the simple rectangular geometry
| Emergency |  |  | Yes/No |  |  | Emergency Lighting Capable | Emergency | Indicates whether emergency lighting is integral. | Indicates whether emergency lighting is integral. | 04ac16ce-15d8-4607-a43a-1fece8f1cc51 | 0nXXpyMbD4QgzHiMoFE$Kf | emergency lighting capable ¦ EN ID: 03-0001 | EmergencyBehaviour
| Emergency |  |  | Text |  |  | Emergency Lighting Type | Emergency | Europe - Escape route or anti-panic means of egress, egrees | Product type for an application of the emergency lighting. Dedicated to emergency luminaires only | 3602aa1f-59fe-4c06-94f3-fdf66550fa62 | 3Q6UsxAKD0Q8mO0x0ZsmhD | dedicated emergency lighting type ¦ EN ID: 01-0020 | Application
x | Mounting | 61767f07-f194-447c-b6fb-66f9285a7d39 | Mounting | Text | o |  | Mounting Type | Mounting | Type of mounting used for the luminaire or sensing device. | Type of mounting used for the luminaire or sensing device. | 61767f07-f194-447c-b6fb-66f9285a7d39 | 3m5UX0NuH4YRPUJ1EmzXz7 | mounting type ¦ EN ID: 06-0003 | Mountings
| Maintenance | 0acd978b-9495-4fe4-a8c7-66bacc6243a2 | Clearance Depth on Bottom | Length |  |  | Access Clearance Bottom | Maintenance | Access required for maintenance of this item | Access required for maintenance of this item | 0acd978b-9495-4fe4-a8c7-66bacc6243a2 | 2AvYrjYPr0sRr1MihNFaSY | access clearance bottom ¦ EN ID: 08-0024 |  | Not in GLDF
| Maintenance | c8d6bd8e-515e-4d40-aac4-d3320184754c | Clearance Depth on Front | Length |  |  | Access Clearance Front | Maintenance | Access required for maintenance of this item. | Access required for maintenance of this item. | c8d6bd8e-515e-4d40-aac4-d3320184754c | 1aiuNjGlP5CeuWyc0dii8P | access clearance front ¦ EN ID: 08-0027 |  | Not in GLDF
| Maintenance | 1799aaac-7681-4e1b-b610-0587482f41be | Clearance Depth on Left | Length |  |  | Access Clearance Left | Maintenance | Access required for maintenance of this item. | Access required for maintenance of this item. | 1799aaac-7681-4e1b-b610-0587482f41be | 3fYv9z7yf7cwK81XdvBN10 | access clearance left ¦ EN ID: 08-0025 |  | Not in GLDF
| Maintenance | e3926a6c-0da9-48ed-ad5d-d4a4376472e8 | Clearance Depth on Right | Length |  |  | Access Clearance Right | Maintenance | Access required for maintenance of this item. | Access required for maintenance of this item. | e3926a6c-0da9-48ed-ad5d-d4a4376472e8 | 0I4OByNdDC4BHSKOAD8s5t | access clearance right ¦ EN ID: 08-0026 |  | Not in GLDF
| Maintenance | cc2e56cc-6338-45c3-a779-55609a49d293 | Clearance Depth on Top | Length |  |  | Access Clearance Top | Maintenance | Access required for maintenance of this item. | Access required for maintenance of this item. | cc2e56cc-6338-45c3-a779-55609a49d293 | 1_oAxKXSb5R97lfGHcRkN8 | access clearance top ¦ EN ID: 08-0029 |  | Not in GLDF
| Maintenance | 5be0ecbb-d514-4549-80be-b4333a4aa35e | Circuit Number Text | Number | o |  | Circuit Number | Maintenance | Serial number for circuit. | Serial number for circuit. | 5be0ecbb-d514-4549-80be-b4333a4aa35e | 2tDs9PFTzF$wJWyj72SQyt | circuit number ¦ EN ID: |  | Not in GLDF
| Maintenance |  |  |  | y | Lamp Lumen Depreciation | Lamp Lumen Maintenance Factor | Maintenance | The lamp lumen maintenance factor is the ratio of luminous flux at a specific time compared to a new light source. It is describing the aging of the light source or the reduction of light intensity over time. | The lamp lumen maintenance factor is the ratio of luminous flux at a specific time compared to a new light source. It is describing the aging of the light source or the reduction of light intensity over time. | Revit Built-in | 2Ys5wBTunE_AZBAQnsTadY | lamp lumen maintenance factor ¦ EN ID: 08-0016 | LampLumenMaintenanceFactor
| Maintenance |  |  |  | y | Equivalent to Light Loss Factor | Luminaire Dirt Depreciation | Maintenance | The ratio of the luminaires luminous flux before and after cleaning. It is presented as a table of environmental conditions depending on the cleaning period of the luminaire. | The ratio of the luminaires luminous flux before and after cleaning. It is presented as a table of environmental conditions depending on the cleaning period of the luminaire. | Revit Built-in | 3zQynANFH5AxO46k9nGJV_ | luminaire maintenance factor ¦ EN ID: 08-0018 | LuminaireMaintenanceFactor
x | General |  |  | Text |  |  | Description | General | Description of product | Description or comments | 157f9768-92d6-4c2a-b6c6-4021de41bca4 | 1u894$Gsj3PPXX6m5zKlOG | description ¦ EN ID: 07-0012 | ProductMetaData.Description
| General | 5102b873-5fab-45b7-a2d0-f83ddee8d345 | Product Name | Text |  |  | Product Family | General | Name given to group of similar products | Luminaire name or brand name of product. | 5102b873-5fab-45b7-a2d0-f83ddee8d345 | 1H6f7P7l571P_cjMg7gPxK | product family ¦ EN ID: 07-0011 | ProductSerie
| Electrical |  |  | Yes/No |  |  | Light Source Included | Electrical | Part of CIE definition (CIE 95?), Manufacturer Provides the light source "lamp" depreciated | States whether the luminaire is supplied with light source | 40cc9cbd-1ba1-41e6-8707-a9b416fd50b1 | 018C_3ZRn5IufwY89oB9NV | light source included ¦ EN ID: 02-0012 |  | Not in GLDF
| Electrical |  |  | Yes/No |  |  | Through Wiring | Electrical | Determines whether the luminaire is suitable for through wiring with the indication of the maximum current. | Determines whether the luminaire is suitable for through wiring with the indication of the maximum current. | 39158cf9-e509-47fe-a95a-5537c4712b85 | 2nKXmluvb7_8clWogllEcr | through wiring ¦ EN ID: 02-0049 |  | Not in GLDF
| Electrical |  |  | Yes/No |  |  | With Connecting Cable | Electrical | Determines whether the product involves connecting cable. | Determines whether the product involves connecting cable. | 5ac947d0-4e86-40d8-b271-34c36524a4b0 | 1UUzk8eSnF9h$NyNPliShg | with connecting cable ¦ EN ID: 02-0050 |  | Not in GLDF
| Electrical |  |  | Yes/No |  |  | With Dimmer | Electrical | Determines whether the luminaire has a dimmer included. | Determines whether the luminaire has a dimmer included. | 5faaf7d9-72b9-43da-b254-6fb6cafd6de7 | 3YVv_4s1LA0uiEUpMsReJ9 | with dimmer ¦ EN ID: 02-0037 |  | Not in GLDF
| Electrical |  |  | Yes/No |  |  | With Power Plug | Electrical | Determines whether the luminaire includes a power plug. | Determines whether the luminaire includes a power plug. | 1aa11302-ada2-47df-bd16-ea98daa8bd0a | 1oLuIWYPjCIvl7dqwEXdaN | with power plug ¦ EN ID: 02-0051 |  | Not in GLDF
| Electrical |  |  | Yes/No |  |  | With Sensor | Electrical | Determines whether the luminaire contains an integrated sensing device. | Determines whether the luminaire contains an integrated sensing device. | ccfc3669-0bf6-498c-b578-8fe0cbab571f | 1h35yfOg10veXdUQaAudl2 | with sensing device ¦ EN ID: 02-0053 |  | Not in GLDF
| Electrical |  |  | Yes/No |  |  | With Switch | Electrical | Determines whether the luminaire has a switch included. | Determines whether the luminaire has a switch included. | 3454a7f1-05ce-45fd-ad23-b64dad85f7d2 | 2RVwJxv$TCNB03cljqpK26 | with switch ¦ EN ID: 02-0052 |  | Not in GLDF
| Mechanical |  |  | Length |  |  | Cutting out Diameter | Mechanical | Diameter of the cut-out hole (for recessed or flush mount). | Diameter of the cut-out hole (for recessed or flush mount). | 48ea3b3c-7921-4716-a6ab-cbb9c4d5e5e1 | 2A6xVlUTj9QP1G$qb4FiWv | cut-out diameter ¦ EN ID: 01-0006 | CircularCutout.Diameter
| Mechanical |  |  | Length |  |  | Cutting out Length | Mechanical | Length of the cut-out hole (for recessed or flush mount). | Length of the cut-out hole (for recessed or flush mount). | b4d75e0a-7fd0-4db4-9abd-42a1e9a3bcfc | 2VEYAfd7j4FQtJgAb_riA5 | cutting out length ¦ EN ID: 01-0008 | CircularCutout.Depth, RectangularCutout.Depth
| Mechanical |  |  | Length |  |  | Cutting out Width | Mechanical | Width of the cut-out hole (for recessed or flush mount). | Width of the cut-out hole (for recessed or flush mount). | 120b879b-b996-457d-ba4e-5684db29e113 | 2pFfNBOuv1Tf_RTQpYktGL | cutting out width ¦ EN ID: 01-0009 | RectangularCutout.Width
| Mechanical |  |  | Length |  |  | Required Recess Depth | Mechanical | Required minimum installation depth, height of the invisible / hidden mounting part of the luminaire (for recessed or flush mount). | Required minimum installation depth, height of the invisible / hidden mounting part of the luminaire (for recessed or flush mount). | e9ed463c-ac3f-46fc-9dd8-f661446876d4 | 1RIsLltoX1whNaYkaCoHXJ | recessed required depth ¦ EN ID: 01-0007
| Emergency |  |  | Number |  |  | Battery Capacity | Emergency | Ampre-hours | Ampre-hours | 2b6a2c17-1cf5-44a2-a605-a3acf40c9b3b | 3HSRRigDn3bwrPttqPraMV | battery capacity ¦ EN ID: 03-0020 |  | Not in GLDF
| Emergency |  |  | Text |  |  | Battery Type | Emergency | Battery type, Cell type. | Battery type, Cell type. | 2229ac1a-3802-40a7-89cd-80aeb0177b05 | 29ZiimATr4QO0B4wwiQNa8 | battery type ¦ EN ID: 03-0019 |  | Not in GLDF
| Emergency |  |  | Electrical Potential |  |  | Battery Voltage | Emergency |  |  | 3258ce83-85d5-40e9-998e-b73fee7e5d87 | 1hLQSaFhL7LOoWCue_qAOm | battery voltage ¦ EN ID: 03-0021 |  | Not in GLDF
| Emergency |  |  | Text |  |  | Emergency Lighting Light Source Type | Emergency | LED/halogen "lamp" depreciated | Light source type of an additional separate emergency light source within the luminaire. | 7851c151-d0d1-4a4e-a43d-9ff1d137880e | 3$hGYwTMb2sQ53dzP$Gjc9 | emergency lighting light source type ¦ EN ID: 03-0004 |  | Not in GLDF
| Emergency |  |  | Yes/No |  |  | Emergency Unit Integrated | Emergency | Indicates if emergency lighting is integrated. Combined luminaire for standard and emergency lighting with one or multiple Light Distribution Curves. | Indicates if emergency lighting is integrated. Combined luminaire for standard and emergency lighting with one or multiple Light Distribution Curves. | 92cadd1f-e81c-4305-80c4-d67c6e78a888 | 3pJBuEixPAV9f0wTnl2cOM | emergency unit integrated ¦ EN ID: 03-0002 | emergencyBehaviour.Combined
| Maintenance |  |  | Yes/No |  |  | Battery Exchange Possible | Maintenance |  |  | 1e564ae4-c7bf-4ac8-ba32-e0e96ffb7fad | 3Kn4FA4wT8fwq6TqMs8LSq | battery exchange possible ¦ EN ID: 08-0022 |  | Not in GLDF
| Maintenance |  |  | Time |  |  | Burn-In Time | Maintenance | Burn in time for the used light source technology. Useful for maintenance, also for initial failure detection | Burn in time for the used light source technology. | 60372e24-0c95-4006-89e1-1bf9fdc81ae3 | 3v5OARYZT1YPVKbbszPFRk | burn-in time ¦ EN ID: 08-0002 |  | Not in GLDF
| Maintenance |  |  | Number |  |  | Lamp Survival Factor | Maintenance | The lamp survival factor depends on the service lifetime of a light source. LSF=1 is saying that there will be no loss of light because of light source failure. Also relates to older lamp technology, 100 - % of lamps that are likely to fail early, (attic stock determination) | The lamp survival factor depends on the service lifetime of a light source. LSF=1 is saying that there will be no loss of light because of light source failure. | 5b6dc4cd-d79c-42ef-a42e-3af6ecdcc07b | 3i22ssv3nDYAGDmO9prt0t | lamp survival factor ¦ EN ID: 08-0017 | LampSurvivalFactor
| Acoustics |  |  | Number |  |  | Acoustic Absorption Average | Acoustics | Acoustic absorption in average over the audible range. | Acoustic absorption in average over the audible range. | 8719b75f-0994-47e7-94c8-66cf2a88fc4d | 1Kv1pLf6D1dA85JgnKKPT1 | acoustic absorption average ¦ EN ID: 08-0031 |  | Not in GLDF
| Acoustics |  |  | Text |  |  | Acoustic Absorption Table | Acoustics | The sound absorption coefficient (ISO 354:2003) presented in table depending on frequencies in the human hearable range. | The sound absorption coefficient (ISO 354:2003) presented in table depending on frequencies in the human hearable range. | 8519b971-a622-42d5-9159-20074873c197 | 03XhO08LHDWvZXteTHjOi9 | acoustic absorption table ¦ EN ID: 08-0030 | AcousticAbsorptionRates
x | Mechanical | 645a1d97-cd6f-4820-b1b4-ebe20ffe0e9c | Lamp Quantity | Integer |  |  | Number of Light outputs | Mechanical | Number of individual light sources (not number of diodes in LED, ex. lamps in chandelier) - disassociate from GLDF | Number of plane surfaces with light output. | 645a1d97-cd6f-4820-b1b4-ebe20ffe0e9c | 1PMNxHS2z4tRuwiQxyzRfs | number of light outputs ¦ EN ID: 01-0019 | [EmitterCount] | Not explicit in GLDF - but can be calculated
| Mechanical |  |  | Yes/No |  |  | Halogen-Free | Mechanical | States whether the product is halogen-free according IEC 61249-2-21:2004. | States whether the product is halogen-free according IEC 61249-2-21:2004. | 0133418e-8d3e-48bf-9f9a-8bb902b5cdfa | 2DJLgonKH2zvtUylGDtoL3 | halogen-free ¦ EN ID: 01-0031 |  | Not in GLDF
| Mechanical |  |  | Length |  |  | Minimum Clearance | Mechanical | Also known as Minimum Distance. Minimum clearance distance to other objects. | Describes the minimum required distance of the luminaire housing to other objects. | a39ef487-abc2-491a-8c56-813f40f71c54 | 0jRoUrk2nF5QFenmXXlBTS | minimum distance ¦ EN ID: 01-0034 |  | Not in GLDF
| Mechanical |  |  | Temperature |  |  | Operation Temperature | Mechanical | Normal operating temp of item | Normal operating temp of item | 6984ae00-a9dd-46d6-ba61-12081d4d95ec
| Mechanical |  |  | Temperature |  |  | Rated Ambient Temperature | Mechanical | Minimum or maximum ambient air temperature | Ambient temperature range. | 02b312a4-d1eb-4fd5-95eb-e19d75d74848 | 2gr49_xaP46O1yRdKp3PXW | ambient temperature ¦ EN ID: 06-0028 | RatedAmbientTemperature
| Mechanical |  |  | Yes/No |  |  | Flexible | Mechanical | Yes/No - Pliable or bendable | The Luminaire body is flexible | ae098f50-d654-458a-9e86-dd4d1eb044e1 | 1oCak0l6v9Bew_SHOfRFnw | pliable ¦ EN ID: 01-0025 |  | Not in GLDF
| Mechanical |  |  | Material |  |  | Sealing Material | Mechanical | How fixture is sealed to prevent water penetration | Material of the sealing of a luminaire. | 95009d7f-9a55-4816-9ec5-78775c93125e | 0f2af0EifB1Qi6xalTs1Xn | sealing material ¦ EN ID: 01-0029 |  | Not in GLDF
| Mechanical |  |  | Length |  |  | Shipping Height | Mechanical | Height of the packed luminaire or sensing device as it is shipped. | Height of the packed luminaire or sensing device as it is shipped. | 90e0715a-e991-481c-9608-3e3ad681bbfa | 1i_XY2Awj5RRadNmgPS3yQ | shipping height ¦ EN ID: 01-0012 |  | Not in GLDF
| Mechanical |  |  | Length |  |  | Shipping Length | Mechanical | Length of the packed luminaire or sensing device as it is shipped. | Length of the packed luminaire or sensing device as it is shipped. | ae55a1ec-256b-4b00-8ce0-f9441ce1e57d | 10UDC$GOvEHexmf_I8j9xG | shipping length ¦ EN ID: 01-0013 |  | Not in GLDF
| Mechanical | 3a947701-f2a7-475b-87e5-5252ce87639e | Equipment Weight Shipped | Weight |  |  | Shipping Weight | Mechanical | Weight of the shipping package of the luminaire or sensing device. | Weight of the shipping package of the luminaire or sensing device. | 5dee06c8-4615-4bd3-9220-3e6e2c1297d0 | 1Zek8UyXfE6gToN8_RDHFg | shipping weight ¦ EN ID: 01-0011 |  | Not in GLDF
| Mechanical |  |  | Length |  |  | Shipping Width | Mechanical | Width of the packed luminaire or sensing device as it is shipped. | Width of the packed luminaire or sensing device as it is shipped. | c6f94aab-ea74-4d3f-8dc0-f4bf29d32a06 | 1ybyhd8TbACg99OxpWMoOg | shipping width ¦ EN ID: 01-0014 |  | Not in GLDF
| Mechanical |  |  | Yes/No |  |  | Silicone-free | Mechanical | States whether the luminaire is silicon-free. | States whether the luminaire is silicon-free. | 3c9a6c4b-38b9-434d-b11b-e9cab2741c17 | 3jAmXEFTn9oPlBD_oO4BfE | silicone-free ¦ EN ID: 01-0030 |  | Not in GLDF
| Mechanical |  |  | Temperature |  |  | Temperature on Light Aperture | Mechanical | Average temperature of light emitting surface of a luminaire. | Average temperature of light emitting surface of a luminaire. | 838b9f89-c9d5-44b3-883c-52bc516b7afb | 3IPpBFdz17PB0W0suiESss | temperature on light aperture ¦ EN ID: 01-0032 |  | Not in GLDF
| Mechanical | 0c904f18-fc9f-4c6b-b378-b535f7d0c21e | Equipment Weight | Weight |  |  | Weight | Mechanical | Weight of the luminaire or sensing device. | Weight of the luminaire or sensing device. | 5de1affc-b992-4202-ab5f-bf414e76a681 | 1RPyGAgMf4hRTZ0DogLFnU | weight ¦ EN ID: 01-0005 | Weigth
| Mechanical |  |  | Yes/No |  |  | Drive Over Rated | Mechanical | Specific application class for ground recessed luminaries according temperature limits, dimensions and static load resistance in kN according to EN 60598-2-13:2017. | Specific application class for ground recessed luminaries according temperature limits, dimensions and static load resistance in kN according to EN 60598-2-13:2017. | b7ca70f4-fe30-4cf3-8b27-d2019dc6ed45 | 3CckyLFxX8KxZVvgilS7Jt | Vehicle Drive over ¦ EN ID: 01-0026 | ProtectiveAreas > Area > Drive/Roll-over proof
| Mechanical |  |  | Yes/No |  |  | Walk Over Rated | Mechanical | Pedestrian load rated- Yes/No |  | dd4ada0b-37d6-4961-aa1f-b808d8e7b7ed | 2oSi7BeZjD4BPkHbNSX6wX | Walk over ¦ EN ID: |  | Not in GLDF
| Mechanical |  |  | Yes/No |  |  | Vehicle Roll over | Mechanical |  |  | 3f642724-34e1-4369-8523-21706fa11526 | 0WuJ9Ccxr1Nw42ttiXpTh9 | Vehicle Roll over ¦ EN ID: | ProtectiveAreas > Area > Drive/Roll-over proof
| Mechanical |  |  | Temperature |  |  | Ambient Temperature | Mechanical | Ambient temperature range. | Ambient temperature range. | 850f1611-4fd6-484d-86f2-4687114abe49 | 2gr49_xaP46O1yRdKp3PXW | Ambient Temperature ¦ EN ID: 06-0028 | DescriptiveAttributes > OperationsAndMaintenance > AmbientTemperature
| Photometric |  |  | Integer |  |  | Amount of Addresses | Photometric | Determines the amount of addresses of the product. | Determines the amount of addresses of the product. | 6ba03f1f-d847-468e-b4f3-c4c0289d868c | 2a382qr4fB08Wb9xoufkaq | Amount of Addresses ¦ EN ID: 02-0041 |  | Not in GLDF
| Photometric |  |  | Text |  |  | BUG RATING | Photometric | The BUG classification (Backlight, Uplight, and Glare) according to IDA/IESNA evaluates the light output of outdoor lights regarding to glare, light pollution and light trespass. (standard ANSI/IES TM-15-20) | The BUG classification (Backlight, Uplight, and Glare) according to IDA/IESNA evaluates the light output of outdoor lights regarding to glare, light pollution and light trespass. (standard ANSI/IES TM-15-20) | 1a808da0-3e8d-4e01-82e5-b299efd4e129 | 1lh0A7J0P1yfpuJvqgOATC | BUG Rating of light distribution ¦ EN ID: 04-0019 | DescriptivePhotometry > LightDistributionBUG-Rating
| Photometric |  |  | Yes/No |  |  | Color Controllable | Photometric | States whether the color is controllable. E.g. tunable whites or color changing. | States whether the color is controllable | 4aab58cd-b2fa-4b44-b302-c9688130b78f | 2Afk3AuoX0YfhlG9pMfb5q | Colour controllable ¦ EN ID: 02-0033 | ColorControllable
| Photometric |  |  | Yes/No |  |  | Colour Temperature Controllable | Photometric | States if the colour temperature is controllable. | States if the colour temperature is controllable. | be40e1a6-8c91-4342-a071-64b7662a571c | 2kMc1GwgH1LAnZ1huo7mq_ | Colour temperature controllable ¦ EN ID: 02-0034 | DescriptiveAttributes > Electrical > ColorControllable
| Electrical |  |  | Text |  |  | Control Feature | Electrical | Example: general description of controls for luminaire, toggle switch, keypad, etc. | Description of Control Elements and Features. | 955fab94-c73e-4f1e-95f0-e29ff8959660 | 00aw6unKX0ghwxryKRoQm9 | Control Features ¦ EN ID: 02-0035 |  | Not in GLDF
| Electrical | 168db923-41ba-45bf-8bba-f4be48513f4f | Ballast-Driver | Text |  |  | Control Gear | Electrical | Type of control gear, which is required to control the electrical operation of the light source(s). | Type of control gear, which is required to control the electrical operation of the light source(s). | 168db923-41ba-45bf-8bba-f4be48513f4f | 21GF1lrRP4denYC8o6ot$N | Control gear ¦ EN ID: 02-0018 | ControlGears > ControlGear
| Electrical |  |  | Yes/No |  |  | Control Gear Included | Electrical | Shipped with or without ballast. | Shipped with or without ballast. | e18257d2-851e-4b7b-bc8d-41568b0612c0 | 3kZ3CJ9Xb9DBPoZ15k3vIQ | Control gear included ¦ EN ID: 02-0020 | ControlGearReference.Id
| Electrical |  |  | Yes/No |  |  | Control Gear Required | Electrical | States if control gear is necessary. | States if control gear is necessary. | d5eff05c-2a91-4563-a781-56affb407ba5 | 06Vbbmtwv85QArFTsBPUPQ | Control gear required ¦ EN ID: 02-0019 | ControlGearReference
| Electrical |  |  | Text |  |  | Control Interface | Electrical | Determines which communication or control interface is indicated for the luminaire or sensing device. | Determines which communication or control interface is indicated for the luminaire or sensing device. | 659abcf0-149d-46a1-82ce-bc28c07bbfb0 | 3_eFt0HBf3UgmfsROvHbly | Control interface ¦ EN ID: 02-0040 | DescriptiveAttributes > Electrical > Interfaces
| Mechanical |  |  | Yes/No |  |  | Covering of Insulation Not Allowed | Mechanical | Covering of Insulation in a ceiling is not allowed for the luminaire. | Covering of Insulation in a ceiling is not allowed for the luminaire. | bb76a84f-aa9d-4210-94b0-e64a59a20a8e | 2Oq5QYgMf06gdSXn61YqDa | Covering of insulation not allowed ¦ EN ID: 06-0025 |  | Not in GLDF
| Photometric |  |  | Angle |  |  | Cut-off Angle | Photometric | Angle, measured up from nadir, between the vertical axis and the first line of sight at which the light sources and the surfaces of high luminance are not visible. If the beam is not rotation symmetrical the photometric plane needs to specified. | Angle, measured up from nadir, between the vertical axis and the first line of sight at which the light sources and the surfaces of high luminance are not visible. If the beam is not rotation symmetrical the photometric plane needs to specified. | bc9f8c99-0464-4cde-9dd4-adf886d6ce06 | 0J5hwLgUf4YAvWrE2XCwq4 | Cut-off angle ¦ EN ID: 04-0033 | DescriptivePhotometry > CutOffAngle
| Photometric |  |  | Angle |  |  | Detection Area | Photometric | Defines the detection angle or the detection area for the standard mounting height. For round area: the angular range from 1° to 360° and radius [m]. For rectangular area: L x W [m]. | Defines the detection angle or the detection area for the standard mounting height. For round area: the angular range from 1° to 360° and radius [m]. For rectangular area: L x W [m]. | faa77e0b-ce07-416b-970e-f51f128b1b30 | 2C6Bl_wyb9muBfd$Z_MZiE | Detection area ¦ EN ID: 05-0002 |  | Not in GLDF
| Photometric |  |  | Text |  |  | Detection Area Adjustable | Photometric | The type of the adjustment of the detection area. | The type of the adjustment of the detection area. | 2e06e479-3d4c-4cdd-a310-246664cb2750 | 1nkkOblIH5CxeBDCDq2WyX | Detection area adjustable ¦ EN ID: 05-0003 |  | Not in GLDF
| Photometric |  |  | Text |  |  | Detection Area Radial Movement | Photometric |  |  | c04bb4e6-2ad5-4eaf-aad6-370548d08d4d | 0UxNElgeX5pfCGhydDlPbL | Detection Area Radial Movement ¦ EN ID: |  | Not in GLDF
| Photometric |  |  | Text |  |  | Detection Area Tangential Movement | Photometric | Detection area for walking for the standard mounting height. For round area: the angular range from 1° to 360° and radius [m]. For rectangular area: L x W [m]. | Detection area for walking for the standard mounting height. For round area: the angular range from 1° to 360° and radius [m]. For rectangular area: L x W [m]. | 6f941950-0e06-45de-b3a0-fa624cd2f128 | 02qYRg2w1BRufMbYctgnox | Detection Area Tangential Movement ¦ EN ID: 05-0008 |  | Not in GLDF
| Photometric |  |  | Text |  |  | Detection Method | Photometric | Applied technology for detection | Applied technology for detection | 73b02cc6-c8d8-471c-85dd-d077663e4f95 | 0eq8JpPhf2mxsbyxHgN4rg | Detection method ¦ EN ID: 05-0005 | DescriptiveAttributes > Sensor > DetectionMehtod
| Photometric |  |  | Text |  |  | Detection Range Adjustable | Photometric | The method of adjustment of detection range. | The method of adjustment of detection range. | 3c5c337f-0fbc-4e09-80e8-b10840c712b6 | 1MWULf$c11YBSMTdevnV$G | Detection Range adjustable ¦ EN ID: 05-0012 |  | Not in GLDF
| Photometric |  |  | Text |  |  | Detector Characteristics | Photometric | Shape of the detection area. | Shape of the detection area. | b0e93192-8f01-47de-bf35-7f9991c6fc02 | 2eE6ivKdb3xANg8HGEDFZH | Detector Characteristics ¦ EN ID:05-0001 | DescriptiveAttributes > Sensor > DetectorCharacteristics
x | Electrical |  |  | Text |  |  | Dimming Method/Protocol | Electrical | Example: (Phase Dimming, 0-10V, DMX... etc.) | Determines which dimmer type is applicable for the luminaire. | b530286d-a1c4-4c8e-81e3-87b8075d96ad | 0jGPV_emX0auTlyNQx4grP | Dimming method ¦ EN ID: 02-0038 |  | Not in GLDF
x | Electrical |  |  | Number |  |  | Dimming Range | Electrical | Percentage | Determines which range of dimming is possible for luminaire. | 62f1c928-b7e3-496f-9e2d-26a6de767852 | 2SM664IIzBFOlcuHC24iWz | Dimming range ¦ EN ID: 02-0039 |  | Not in GLDF
| Photometric |  |  | Text |  |  | Flicker | Photometric | Impression of unsteadiness of visual sensation induced by a light stimulus whose luminance or spectral distribution fluctuates with time. | Impression of unsteadiness of visual sensation induced by a light stimulus whose luminance or spectral distribution fluctuates with time. | 97e6615f-6252-4ed9-8073-4e10ff5b27b9 | 2EYqu_hCHFEO0cQ_qv5wD$ | Flicker ¦ EN ID: 04-0042 | ActivePowerTable > FluxFactor > FlickerPstLM
| Photometric |  |  | Number |  |  | Initial Color Tolerance in Step McAdam Ellipses (SCDM) | Photometric | Initial Color Tolerance in step McAdam ellipses (SDCM). | Initial Color Tolerance in step McAdam ellipses (SDCM). | 9eb65ed2-2fc4-4512-9788-46a0bf05be3f | 1NvFrN1kP1MBnwjfcEtZS9 | Initial Colour Tolerance in step McAdam ellipses (SCDM) ¦ EN ID: 04-0030 | DescriptivePhotometry > ColourInformation > InitialColorTolerance
| Electrical |  |  | Current |  |  | Inrush Current | Electrical | Initial current after turning on. Base for quantity of luminaires per fuse or similar. | Initial current after turning on. Base for quantity of luminaires per fuse or similar. | b4430633-79ca-4ac5-9b74-94698860b8b6 | 3rfirTJfj9bgIELSX4VRBz | Inrush current ¦ EN ID: 02-0025 | ConstantLightOutputStartPower
x | Electrical |  |  | Yes/No |  |  | LED Module Replaceable | Electrical | Yes/No - entire fixture does not need to be replaced | led module replaceable | 1ba13498-6fa6-44f8-989e-dff350b825ce | 12_LtdVG5DqvZ$R5Y3Ua8I | LED module replaceable ¦ EN ID: 02-0061 |  | Not in GLDF
| Photometric |  |  | Text |  |  | Measurement Method | Photometric | The measurement of the presence detection area was done according to standard | The measurement of the presence detection area was done according to standard | 5d673f57-5625-4eec-86d1-232bf852e908 | 1ymgRlSerBqBwALgiHgX7j | Measurement method ¦ EN ID: 05-0011 |  | Not in GLDF
| Photometric |  |  | Number |  |  | Melanopic Factor | Photometric | Melanopic factor of luminous radiation daylight equivalent based on CIE standard illuminant D65. See also CEN/TR 16791:2017. | Melanopic factor of luminous radiation daylight equivalent based on CIE standard illuminant D65. See also CEN/TR 16791:2017. | 0416214c-cbb5-4dce-85bc-c1d51a24b466 | 3JqWxX_JPBDPKVYVZAezD6 | Melanopic factor ¦ EN ID: 04-0028 | DescriptivePhotometry > ColourInformation > MelanopicFactor
| Electrical |  |  | Current |  |  | Nominal Current | Electrical | Electrical nominal current | Electrical nominal current | d5d08871-9f84-4310-b7a5-26877939c0e7 | 2oaQ3AOnn40wmt6Zfp6ooy | Nominal current ¦ EN ID: 02-0024 |  | Not in GLDF
| Electrical |  |  | Frequency |  |  | Nominal Frequency | Electrical | Nominal frequency at which the product operates normally as specified by the supplier or manufacturer. | Nominal frequency at which the product operates normally as specified by the supplier or manufacturer. | 6acbe6cd-75fd-4855-95ae-ace53ab87086 | 22IpUkOwD2iOIVugd8CAfb | Nominal frequency ¦ EN ID: 02-0027 | DescriptiveAttributes > Frequency
| Photometric |  |  | Integer |  |  | Photobiology Class (1-3) | Photometric | The required measurement methods and the calculation methodology are set in the harmonized standard EN 62471:2009, Photobiological safety of lamps and lamp systems“. Sources are classified based on hazard of incoherent optical radiation. | The required measurement methods and the calculation methodology are set in the harmonized standard EN 62471:2009, Photobiological safety of lamps and lamp systems“. Sources are classified based on hazard of incoherent optical radiation. | e3d726e7-75e8-4753-8962-cf82a6b1a7d9 | 1PL17P9t53oexZksoRkx7Y | Photobiology class (1-3) ¦ EN ID: 04-0037 |  | Not in GLDF
| Electrical |  |  | Apparent Power |  |  | Power Consumption of the Controls | Electrical | Power consumption of the detector with the light switched off and without motion detection / presence detection (idle state). | Power consumption of the detector with the light switched off and without motion detection / presence detection (idle state). | 78358258-c1b2-4f15-a488-594d4aa4f1b2 | 2wiaN2gSf0$RFeAF8d_51K | Power consumption of the controls ¦ EN ID: 02-0007 | DescriptiveAttributes > PowerConsumptionControls
| Electrical |  |  | Number |  |  | Power Factor | Electrical | Ratio of the amount of the active power to the apparent power at 100% load. See also IEC 80000-6:2008. | Ratio of the amount of the active power to the apparent power at 100% load. See also IEC 80000-6:2008. | bde8cff9-2162-4d2d-b52a-a0ff1741d33d | 3LBrQkLDDFheBOxrGk8Zr_ | Power Factor ¦ EN ID: 02-0003 | DescriptiveAttributes > Electrical > PowerFactor
| Photometric |  |  | Text |  |  | Presence Detection Area | Photometric | Detection area for minor movement for the standard mounting height. For round area: the angular range from 1° to 360° and radius [m]. For rectangular area: L x W [m] | Detection area for minor movement for the standard mounting height. For round area: the angular range from 1° to 360° and radius [m]. For rectangular area: L x W [m] | 0e148639-ed67-4f43-9d8a-50abe7e68627 | 3E7MzAVgHDlBQIdGhHFHL1 | Presence Detection Area ¦ EN ID: 05-0010 |  | Not in GLDF
| Electrical |  |  | URL |  |  | Product Data Sheet | Electrical | product data sheet | product data sheet | 8413f781-2bd2-4e00-90c4-2cf69eb249a4 | 2SIvCAZun4Wxd4khWGmURU | Product data sheet ¦ EN ID: 07-0008 | File.PDF
| Electrical |  |  | Power |  |  | Radiation Power | Electrical | radiation power | radiation power | 65afcc0d-14a2-4347-8749-259228986918 | 0fafA0Xg17xAyphZUB6DEj | Radiation power ¦ EN ID: 05-0006 |  | Not in GLDF
| Photometric |  |  | Text |  |  | Rated Chromaticity Coordinate Values | Photometric | Chromaticity coordinates ratio of a set of 3 tristimulus values to their sum according ISO 11664-1:2007. 2 values are sufficient to define chromaticity. CIE colorimetric systems represent these with the symbols x, y, z and x10, y10, z10. | Chromaticity coordinates ratio of a set of 3 tristimulus values to their sum according ISO 11664-1:2007. 2 values are sufficient to define chromaticity. CIE colorimetric systems represent these with the symbols x, y, z and x10, y10, z10. | 6892853b-e608-4230-a4cf-5ec2ebc73c1f | 2VsGUEC0v62AXkp0i8pFrI | Rated chromacity coordinate values ¦ EN ID: 04-0032 | DescriptivePhotometry > ColourInformation > RatedChromacityCoordinateValues
| Mechanical |  |  | Text |  |  | Relative Humidity Range | Mechanical | The relative humidity of environment that enables product to function. | The relative humidity of environment that enables product to function. | b0888250-71e8-4aac-b6a3-7c36e8731261 | 2Hn3h7rKb0RhRhIOAzSkNR | Relative Humidity Range ¦ EN ID: 06-0029 |  | Not in GLDF
| Electrical |  |  | Text |  |  | Socket Type | Electrical | A device which mechanically supports and provides electrical connections for a compatible electric light source. See also IEC60061:2018. | A device which mechanically supports and provides electrical connections for a compatible electric light source. See also IEC60061:2018. | 06bdf7f6-3876-4243-9604-ea0abdf0be14 | 1fBDdf6YP2O8_JFTCLHktp | Socket ¦ EN ID: 02-0009 | ChangeableLightSource > Socket
| Mechanical |  |  | Length |  |  | Thickness of Ceiling Maximum | Mechanical | The maximum thickness of the ceiling for recessed installation | The maximum thickness of the ceiling for recessed installation | 8dd470fb-98b3-4821-bc40-0e36541808f2 | 3bww1seCDA3xO1TXuKRIa5 | Thickness of ceiling maximum ¦ EN ID: 06-0023 |  | Not in GLDF
| Mechanical |  |  | Length |  |  | Thickness of Ceiling Minimum | Mechanical | The minimum thickness of the ceiling for recessed or flush mount. | The minimum thickness of the ceiling for recessed or flush mount. | 78315588-1783-49e3-98d1-810ba7cb00b5 | 2lG7sF6af5sRrHYUSubDNV | Thickness of ceiling minimum ¦ EN ID: 06-0022 |  | Not in GLDF
| Photometric |  |  | Text |  |  | Type of Detector | Photometric | The type of detection possible for sensing device. | The type of detection possible for sensing device. | 6caf5abd-dd67-4ddb-9e37-09177f0e31b9 | 2iV9K3GCTD9AwDRJQ2QaSP | Type of detector ¦ EN ID: 05-0004 | DescriptiveAttributes > Sensor > DetectorType
| Electrical |  |  | Text |  |  | Voltage Type (AC, DC, UC) | Electrical | AC Alternating Current / DC Direct Current / UC Universal Current (Alternating or Direct Current). | AC Alternating Current / DC Direct Current / UC Universal Current (Alternating or Direct Current). | 2664ae9d-9c4f-4e4c-ad37-1d0e78331ec0 | 3RRkslNcn3IBFmyVoAyyMc | Voltage type (AC, DC, UC) ¦ EN ID: 02-0029 | DescriptiveAttributes > Electrical > Voltage.Type
| Electrical |  |  | Yes/No |  |  | With Starter | Electrical | Parameter aligns to CEN/TS 17623 of same name | The luminaire has a starter | 6aa8080e-4cfe-4504-ad41-070bde45621e | 2qdgZ6NbnCfOAJFXNAjkhw | With starter ¦ EN ID: 06-0027 |  | Not in GLDF
| Electrical |  |  | Text |  |  | LED Drive Type | Electrical | Constant Current, Constant Voltage, or not applicable | CC, CV, or N/A. | 60c36216-e435-4e09-9ddf-80c48933de8a
| General |  |  | Yes/No |  |  | Quick Ship | General | Quick ship available | Quick ship available | 57468694-d8a7-4f40-8d81-3adea8969813
| General |  |  | Text |  |  | Quick Ship Terms | General | Quick shipping terms from manufacturer. | Quick shipping terms from manufacturer. | e9e962f5-6b30-4eb6-a9a7-6ab3d6b0e867
| General |  |  | Yes/No |  |  | EPD Available | General | Environmental product declarations available. | Environmental product declarations available. | 9e32e66f-84c9-4f8a-b390-126f594cde40
| General |  |  | URL |  |  | EPD URL | General | Environmental product declarations web URL | Environmental product declarations web URL | 23460896-bdd0-43e7-85cf-85cb9927bcd6
| Electrical |  |  | Electrical Potential |  |  | LED Secondary Voltage | Electrical | LED Drive Voltage | i.e. 12V, 24V, 48V | f94f1a91-dc78-4cc7-a210-d0b242ee1fc4
| Photometric | 9cfefef9-0589-486e-8f2a-29fa65cbf4f7 | Emergency Luminous Flux | Luminous Flux |  |  | Emergency Luminous Flux | Photometric | Lumen output in emergency mode. | Lumen output in emergency mode. | 9cfefef9-0589-486e-8f2a-29fa65cbf4f7
| General | 3ba7512c-0fde-43eb-9a08-63710290c613 | Projected Life | Time |  |  | Projected Life | General | Projected operational hours. | Projected operational hours. | 3ba7512c-0fde-43eb-9a08-63710290c613
y = Built-in
o = Built-in, with exceptions